## YOUR JOBS
ALL | you are responsible for the following jobs: (up to priority 4.9) | ALL |  |  | 53 | [13 empty] | JOBS NOT TO BE DONE | [14 empty] | jobs listed
Y
| SCHEDULED MAINTENANCE | PRIORITY | TYPE |  | BUDGET |  |  |  | 2 | 6 | [10 empty] | 2
1 | Batteries: Check, clean & grease terminals OK | 0 | Start of Season | PB | 0 | Y | 4 | 4 | 4 | G3:I69 | 'ALL JOBS'!A10 | 'ALL JOBS'!B10 | 'ALL JOBS'!D10 | 'ALL JOBS'!E10 | 'ALL JOBS'!F10 | 'ALL JOBS'!G10 | 'ALL JOBS'!D10 | Y |  | 4 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D10 | 1 | 'ALL JOBS'!D10 | 'ALL JOBS'!F10 | FALSE
2 | Check fire extinguishers (and shake powder to remove lumpyness) and fire blanket | 0 | Start of Season | DA | 0 | Y | 5 | 5 | 5 | G5:I69 | 'ALL JOBS'!A11 | 'ALL JOBS'!B11 | 'ALL JOBS'!D11 | 'ALL JOBS'!E11 | 'ALL JOBS'!F11 | 'ALL JOBS'!G11 | 'ALL JOBS'!D11 | Y |  | 5 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D11 | 2 | 'ALL JOBS'!D11 | 'ALL JOBS'!F11 | FALSE
3 | Replace CO detector (in stock) | 0 | Start of Season | DA | 0 | Y | 6 | 6 | 6 | G6:I69 | 'ALL JOBS'!A12 | 'ALL JOBS'!B12 | 'ALL JOBS'!D12 | 'ALL JOBS'!E12 | 'ALL JOBS'!F12 | 'ALL JOBS'!G12 | 'ALL JOBS'!D12 | Y |  | 6 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D12 | 3 | 'ALL JOBS'!D12 | 'ALL JOBS'!F12 | FALSE
4 | Restock pumpout cards (not maintenance - charge to pump out) | 0 | Pumpout | DA | 0 | Y | 7 | 7 | 7 | G7:I69 | 'ALL JOBS'!A13 | 'ALL JOBS'!B13 | 'ALL JOBS'!D13 | 'ALL JOBS'!E13 | 'ALL JOBS'!F13 | 'ALL JOBS'!G13 | 'ALL JOBS'!D13 | Y |  | 7 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D13 | 4 | 'ALL JOBS'!D13 | 'ALL JOBS'!F13 | FALSE
5 | Check compliance issues. Check for new/changed requirements. 2022 Arrange survey | 0 | Start of Season | DA/DRK | 120 | Y | 8 | 8 | 8 | G8:I69 | 'ALL JOBS'!A14 | 'ALL JOBS'!B14 | 'ALL JOBS'!D14 | 'ALL JOBS'!E14 | 'ALL JOBS'!F14 | 'ALL JOBS'!G14 | 'ALL JOBS'!D14 | Y |  | 8 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D14 | 5 | 'ALL JOBS'!D14 | 'ALL JOBS'!F14 | FALSE
6 | Pressure test the gas lines | 0 | Start of Season | DRK | 0 | Y | 9 | 9 | 9 | G9:I69 | 'ALL JOBS'!A15 | 'ALL JOBS'!B15 | 'ALL JOBS'!D15 | 'ALL JOBS'!E15 | 'ALL JOBS'!F15 | 'ALL JOBS'!G15 | 'ALL JOBS'!D15 | Y |  | 9 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D15 | 6 | 'ALL JOBS'!D15 | 'ALL JOBS'!F15 | FALSE
7 | Check for any soft board (replace as necessary) and water under floor | 0 | Start of Season | DA/DB | 0 | Y | 10 | 10 | 10 | G10:I69 | 'ALL JOBS'!A16 | 'ALL JOBS'!B16 | 'ALL JOBS'!D16 | 'ALL JOBS'!E16 | 'ALL JOBS'!F16 | 'ALL JOBS'!G16 | 'ALL JOBS'!D16 | Y |  | 10 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D16 | 7 | 'ALL JOBS'!D16 | 'ALL JOBS'!F16 | FALSE
9 | Check operation of both loos & check fixing. Lubricate foot pedal. To retain water, polish ball & descale rubber rings. | 0 | Start of Season | CJ | 0 |  | 11 | 12 | 12 | G11:I69 | 'ALL JOBS'!A18 | 'ALL JOBS'!B18 | 'ALL JOBS'!D18 | 'ALL JOBS'!E18 | 'ALL JOBS'!F18 | 'ALL JOBS'!G18 | 'ALL JOBS'!D18 | Y |  | 11 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D18 | 8 | 'ALL JOBS'!D17 | 'ALL JOBS'!F17 | FALSE
10 | Refurbish rear loo so bowl holds water, we have all the parts. | 0 | Start of Season | CJ | 0 | Y | 12 | 13 | 13 | G13:I69 | 'ALL JOBS'!A19 | 'ALL JOBS'!B19 | 'ALL JOBS'!D19 | 'ALL JOBS'!E19 | 'ALL JOBS'!F19 | 'ALL JOBS'!G19 | 'ALL JOBS'!D19 | Y |  | 12 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D19 | 9 | 'ALL JOBS'!D18 | 'ALL JOBS'!F18 | FALSE
11 | De-winterise replace water pump if necessry, check for leaks, reinstall, change water filter. Re-install Port Side Heating pump and shower. | 0 | Start of Season | DRK | 100 | Y | 13 | 14 | 14 | G14:I69 | 'ALL JOBS'!A20 | 'ALL JOBS'!B20 | 'ALL JOBS'!D20 | 'ALL JOBS'!E20 | 'ALL JOBS'!F20 | 'ALL JOBS'!G20 | 'ALL JOBS'!D20 | Y |  | 13 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D20 | 10 | 'ALL JOBS'!D19 | 'ALL JOBS'!F19 | FALSE
12 | Restock water filters & Freezeban | 0 | Start of Season | DRK | 70 | Y | 14 | 15 | 15 | G15:I69 | 'ALL JOBS'!A21 | 'ALL JOBS'!B21 | 'ALL JOBS'!D21 | 'ALL JOBS'!E21 | 'ALL JOBS'!F21 | 'ALL JOBS'!G21 | 'ALL JOBS'!D21 | Y |  | 14 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D21 | 11 | 'ALL JOBS'!D20 | 'ALL JOBS'!F20 | FALSE
13 | Winterisation- Partial (November) Full (December) | 0 | November | DRK | 0 | Y | 15 | 16 | 16 | G16:I69 | 'ALL JOBS'!A22 | 'ALL JOBS'!B22 | 'ALL JOBS'!D22 | 'ALL JOBS'!E22 | 'ALL JOBS'!F22 | 'ALL JOBS'!G22 | 'ALL JOBS'!D22 | Y |  | 15 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D22 | 12 | 'ALL JOBS'!D21 | 'ALL JOBS'!F21 | FALSE
14 | Restock & update handover sheet & email to members | 0 | Start of Season | DRK | 0 | Y | 16 | 17 | 17 | G17:I69 | 'ALL JOBS'!A23 | 'ALL JOBS'!B23 | 'ALL JOBS'!D23 | 'ALL JOBS'!E23 | 'ALL JOBS'!F23 | 'ALL JOBS'!G23 | 'ALL JOBS'!D23 | Y |  | 16 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D23 | 13 | 'ALL JOBS'!D22 | 'ALL JOBS'!F22 | FALSE
15 | Restock Blue for loos (charge to "Pump-out") | 0 | Start of Season | All | 0 | Y | 17 | 18 | 18 | G18:I69 | 'ALL JOBS'!A24 | 'ALL JOBS'!B24 | 'ALL JOBS'!D24 | 'ALL JOBS'!E24 | 'ALL JOBS'!F24 | 'ALL JOBS'!G24 | 'ALL JOBS'!D24 | Y |  | 17 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D24 | 14 | 'ALL JOBS'!D23 | 'ALL JOBS'!F23 | FALSE
16 | Restock CH antifreeze Check water levels (2022 is part of heating work) | 0 | Start of Season | DRK | 0 | Y | 18 | 19 | 19 | G19:I69 | 'ALL JOBS'!A25 | 'ALL JOBS'!B25 | 'ALL JOBS'!D25 | 'ALL JOBS'!E25 | 'ALL JOBS'!F25 | 'ALL JOBS'!G25 | 'ALL JOBS'!D25 | Y |  | 18 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D25 | 15 | 'ALL JOBS'!D24 | 'ALL JOBS'!F24 | FALSE
17 | Replace pillows (4/year?) | 0 | Start of Season | HA | 0 | Y | 19 | 20 | 20 | G20:I69 | 'ALL JOBS'!A26 | 'ALL JOBS'!B26 | 'ALL JOBS'!D26 | 'ALL JOBS'!E26 | 'ALL JOBS'!F26 | 'ALL JOBS'!G26 | 'ALL JOBS'!D26 | Y |  | 19 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D26 | 16 | 'ALL JOBS'!D25 | 'ALL JOBS'!F25 | FALSE
18 | Re-stock first aid kit as needed | 0 | Start of Season | HA | 15 | Y | 20 | 21 | 21 | G21:I69 | 'ALL JOBS'!A27 | 'ALL JOBS'!B27 | 'ALL JOBS'!D27 | 'ALL JOBS'!E27 | 'ALL JOBS'!F27 | 'ALL JOBS'!G27 | 'ALL JOBS'!D27 | Y |  | 20 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D27 | 17 | 'ALL JOBS'!D26 | 'ALL JOBS'!F26 | FALSE
19 | Clean boat for start of season | 0 | Start of Season | JF/PB/SB | 20 | Y | 21 | 22 | 22 | G22:I69 | 'ALL JOBS'!A28 | 'ALL JOBS'!B28 | 'ALL JOBS'!D28 | 'ALL JOBS'!E28 | 'ALL JOBS'!F28 | 'ALL JOBS'!G28 | 'ALL JOBS'!D28 | Y |  | 21 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D28 | 18 | 'ALL JOBS'!D27 | 'ALL JOBS'!F27 | FALSE
20 | Remove all surplus materials and food etc | 0 | Start of Season | JF/PB/SB | 0 | Y | 22 | 23 | 23 | G23:I69 | 'ALL JOBS'!A29 | 'ALL JOBS'!B29 | 'ALL JOBS'!D29 | 'ALL JOBS'!E29 | 'ALL JOBS'!F29 | 'ALL JOBS'!G29 | 'ALL JOBS'!D29 | Y |  | 22 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D29 | 19 | 'ALL JOBS'!D28 | 'ALL JOBS'!F28 | FALSE
21 | Restock engine oil (charge to "Engine Oil") | 0 | Start of Season | JF | 0 | Y | 23 | 24 | 24 | G24:I69 | 'ALL JOBS'!A30 | 'ALL JOBS'!B30 | 'ALL JOBS'!D30 | 'ALL JOBS'!E30 | 'ALL JOBS'!F30 | 'ALL JOBS'!G30 | 'ALL JOBS'!D30 | Y |  | 23 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D30 | 20 | 'ALL JOBS'!D29 | 'ALL JOBS'!F29 | FALSE
22 | Check mounts, transmission and alternator belt | 0 | Start of Season | PB /JWD/JF | 0 | Y | 24 | 25 | 25 | G25:I69 | 'ALL JOBS'!A31 | 'ALL JOBS'!B31 | 'ALL JOBS'!D31 | 'ALL JOBS'!E31 | 'ALL JOBS'!F31 | 'ALL JOBS'!G31 | 'ALL JOBS'!D31 | Y |  | 24 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D31 | 21 | 'ALL JOBS'!D30 | 'ALL JOBS'!F30 | FALSE
23 | Check propeller | 0 | Start of Season | PB | 0 | Y | 25 | 26 | 26 | G26:I69 | 'ALL JOBS'!A32 | 'ALL JOBS'!B32 | 'ALL JOBS'!D32 | 'ALL JOBS'!E32 | 'ALL JOBS'!F32 | 'ALL JOBS'!G32 | 'ALL JOBS'!D32 | Y |  | 25 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D32 | 22 | 'ALL JOBS'!D31 | 'ALL JOBS'!F31 | FALSE
24 | Check/fix bilge pumps and auto switches operational | 0 | Start of Season | PB /JWD/JF | 0 | Y | 26 | 27 | 27 | G27:I69 | 'ALL JOBS'!A33 | 'ALL JOBS'!B33 | 'ALL JOBS'!D33 | 'ALL JOBS'!E33 | 'ALL JOBS'!F33 | 'ALL JOBS'!G33 | 'ALL JOBS'!D33 | Y |  | 26 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D33 | 23 | 'ALL JOBS'!D32 | 'ALL JOBS'!F32 | FALSE
25 | Check stock diesel tonic and oil + fuel+ air filters | 0 | Start of Season | PB | 0 | Y | 27 | 28 | 28 | G28:I69 | 'ALL JOBS'!A34 | 'ALL JOBS'!B34 | 'ALL JOBS'!D34 | 'ALL JOBS'!E34 | 'ALL JOBS'!F34 | 'ALL JOBS'!G34 | 'ALL JOBS'!D34 | Y |  | 27 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D34 | 24 | 'ALL JOBS'!D33 | 'ALL JOBS'!F33 | FALSE
26 | Service engine (oil & filters mid season) add diesel tonic, Oil and filter, Fuel filter, | 0 | Start of Season | PB /JWD/JF | 26 | Y | 28 | 29 | 29 | G29:I69 | 'ALL JOBS'!A35 | 'ALL JOBS'!B35 | 'ALL JOBS'!D35 | 'ALL JOBS'!E35 | 'ALL JOBS'!F35 | 'ALL JOBS'!G35 | 'ALL JOBS'!D35 | Y |  | 28 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D35 | 25 | 'ALL JOBS'!D34 | 'ALL JOBS'!F34 | FALSE
27 | Laundry: clean blankets & curtains? | 0 | Start of Season | SB | 0 | Y | 29 | 30 | 30 | G30:I69 | 'ALL JOBS'!A36 | 'ALL JOBS'!B36 | 'ALL JOBS'!D36 | 'ALL JOBS'!E36 | 'ALL JOBS'!F36 | 'ALL JOBS'!G36 | 'ALL JOBS'!D36 | Y |  | 29 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D36 | 26 | 'ALL JOBS'!D35 | 'ALL JOBS'!F35 | FALSE
28 | Check front gas locker vents to outside are clear | 0 | Start of Season | TM | 0 | Y | 30 | 31 | 31 | G31:I69 | 'ALL JOBS'!A37 | 'ALL JOBS'!B37 | 'ALL JOBS'!D37 | 'ALL JOBS'!E37 | 'ALL JOBS'!F37 | 'ALL JOBS'!G37 | 'ALL JOBS'!D37 | Y |  | 30 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D37 | 27 | 'ALL JOBS'!D36 | 'ALL JOBS'!F36 | FALSE
29 | Clean rain gullies around stern counter area | 0 | Start of Season | DB/DF/PF | 0 | Y | 31 | 32 | 32 | G32:I69 | 'ALL JOBS'!A38 | 'ALL JOBS'!B38 | 'ALL JOBS'!D38 | 'ALL JOBS'!E38 | 'ALL JOBS'!F38 | 'ALL JOBS'!G38 | 'ALL JOBS'!D38 | Y |  | 31 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D38 | 28 | 'ALL JOBS'!D37 | 'ALL JOBS'!F37 | FALSE
30 | Clean rubber mat on stern counter area not needed | 0 | Start of Season | DB/DF/PF | 0 | Y | 32 | 33 | 33 | G33:I69 | 'ALL JOBS'!A39 | 'ALL JOBS'!B39 | 'ALL JOBS'!D39 | 'ALL JOBS'!E39 | 'ALL JOBS'!F39 | 'ALL JOBS'!G39 | 'ALL JOBS'!D39 | Y |  | 32 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D39 | 29 | 'ALL JOBS'!D38 | 'ALL JOBS'!F38 | FALSE
31 | Clean Shower sump (bucket) Check for leak | 0 | Start of Season | TM | 0 | Y | 33 | 34 | 34 | G34:I69 | 'ALL JOBS'!A40 | 'ALL JOBS'!B40 | 'ALL JOBS'!D40 | 'ALL JOBS'!E40 | 'ALL JOBS'!F40 | 'ALL JOBS'!G40 | 'ALL JOBS'!D40 | Y |  | 33 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D40 | 30 | 'ALL JOBS'!D39 | 'ALL JOBS'!F39 | FALSE
33 | Monitor water pump voltage problem | 2 | Electrics | DRK/PB | 0 | Y | 34 | 37 | 37 | G35:I69 | 'ALL JOBS'!A43 | 'ALL JOBS'!B43 | 'ALL JOBS'!D43 | 'ALL JOBS'!E43 | 'ALL JOBS'!F43 | 'ALL JOBS'!G43 | 'ALL JOBS'!D43 | Y |  | 34 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D43 | 31 | 'ALL JOBS'!D40 | 'ALL JOBS'!F40 | FALSE
34 | Check for water leaks under kitchen sink as possible cause of smell | 2 | Miscellaneous | DRK/PB | 0 |  | 35 | 38 | 38 | G38:I69 | 'ALL JOBS'!A44 | 'ALL JOBS'!B44 | 'ALL JOBS'!D44 | 'ALL JOBS'!E44 | 'ALL JOBS'!F44 | 'ALL JOBS'!G44 | 'ALL JOBS'!D44 | Y |  | 35 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D44 | 32 | 'ALL JOBS'!D41 | 'ALL JOBS'!F41 | FALSE
35 | Shelving in dining area - wire stops, | 3 | Joinery | DA | 5 |  | 36 | 39 | 39 | G39:I69 | 'ALL JOBS'!A45 | 'ALL JOBS'!B45 | 'ALL JOBS'!D45 | 'ALL JOBS'!E45 | 'ALL JOBS'!F45 | 'ALL JOBS'!G45 | 'ALL JOBS'!D45 | Y | #REF! | 36 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D45 | 33 | 'ALL JOBS'!D42 | 'ALL JOBS'!F42 | FALSE
36 | Organize boxes in Boiler Cupboard. Label boxes with contents, replace failing boxes, put list of contents on back of the door. | 3 | Miscellaneous | SB | 0 | Y | 37 | 40 | 40 | G40:I69 | 'ALL JOBS'!A46 | 'ALL JOBS'!B46 | 'ALL JOBS'!D46 | 'ALL JOBS'!E46 | 'ALL JOBS'!F46 | 'ALL JOBS'!G46 | 'ALL JOBS'!D46 | Y | #REF! | 37 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D46 | 34 | 'ALL JOBS'!D43 | 'ALL JOBS'!F43 | FALSE
38 | Lights replacement/upgrade Replace faulty lights where necessary | 2 | Lighting | DA | 30 | Y | 38 | 42 | 42 | G41:I69 | 'ALL JOBS'!A48 | 'ALL JOBS'!B48 | 'ALL JOBS'!D48 | 'ALL JOBS'!E48 | 'ALL JOBS'!F48 | 'ALL JOBS'!G48 | 'ALL JOBS'!D48 | Y | #REF! | 38 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D48 | 35 | 'ALL JOBS'!D44 | 'ALL JOBS'!F44 | FALSE
40 | Replace boiler | 1 | Special Project | PB/DRK | 3500 | Y | 39 | 45 | 45 | G43:I69 | 'ALL JOBS'!A51 | 'ALL JOBS'!B51 | 'ALL JOBS'!D51 | 'ALL JOBS'!E51 | 'ALL JOBS'!F51 | 'ALL JOBS'!G51 | 'ALL JOBS'!D51 | Y | #REF! | 39 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D51 | 36 | 'ALL JOBS'!D45 | 'ALL JOBS'!F45 | FALSE
42 | Gas cooker - Install shelf if not replaced | 1 | Safety | PB | 0 | Y | 40 | 47 | 47 | G46:I69 | 'ALL JOBS'!A53 | 'ALL JOBS'!B53 | 'ALL JOBS'!D53 | 'ALL JOBS'!E53 | 'ALL JOBS'!F53 | 'ALL JOBS'!G53 | 'ALL JOBS'!D53 | Y | Y | 40 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D53 | 37 | 'ALL JOBS'!D46 | 'ALL JOBS'!F46 | FALSE
43 | Clean and repaint metal supports under rear counter boards and steps | 3 | Paintwork | DB/DF/PF | 0 |  | 41 | 48 | 48 | G48:I69 | 'ALL JOBS'!A54 | 'ALL JOBS'!B54 | 'ALL JOBS'!D54 | 'ALL JOBS'!E54 | 'ALL JOBS'!F54 | 'ALL JOBS'!G54 | 'ALL JOBS'!D54 | Y | #REF! | 41 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D54 | 38 | 'ALL JOBS'!D47 | 'ALL JOBS'!F47 | FALSE
44 | Complete drainage slots in rubber mats over rear boards and add pieces to steps | 2 | Miscellaneous | TM | 0 | Y | 42 | 49 | 49 | G49:I69 | 'ALL JOBS'!A55 | 'ALL JOBS'!B55 | 'ALL JOBS'!D55 | 'ALL JOBS'!E55 | 'ALL JOBS'!F55 | 'ALL JOBS'!G55 | 'ALL JOBS'!D55 | Y |  | 42 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D55 | 39 | 'ALL JOBS'!D48 | 'ALL JOBS'!F48 | FALSE
45 | Clean bilge | 3 | Paintwork | DB | 0 |  | 43 | 50 | 50 | G50:I69 | 'ALL JOBS'!A56 | 'ALL JOBS'!B56 | 'ALL JOBS'!D56 | 'ALL JOBS'!E56 | 'ALL JOBS'!F56 | 'ALL JOBS'!G56 | 'ALL JOBS'!D56 | Y |  | 43 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D56 | 40 | 'ALL JOBS'!D49 | 'ALL JOBS'!F49 | FALSE
46 | Repair/replace rear door | 2 | Woodwork | PB/SB | 20 |  | 44 | 51 | 51 | G51:I69 | 'ALL JOBS'!A57 | 'ALL JOBS'!B57 | 'ALL JOBS'!D57 | 'ALL JOBS'!E57 | 'ALL JOBS'!F57 | 'ALL JOBS'!G57 | 'ALL JOBS'!D57 | Y | #REF! | 44 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D57 | 41 | 'ALL JOBS'!D50 | 'ALL JOBS'!F50 | FALSE
47 | Replace missing slats in airing cupboard and rear cabin doors | 3 | Woodwork | DA | 19 | Y | 45 | 52 | 52 | G52:I69 | 'ALL JOBS'!A58 | 'ALL JOBS'!B58 | 'ALL JOBS'!D58 | 'ALL JOBS'!E58 | 'ALL JOBS'!F58 | 'ALL JOBS'!G58 | 'ALL JOBS'!D58 | Y |  | 45 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D58 | 42 | 'ALL JOBS'!D51 | 'ALL JOBS'!F51 | FALSE
48 | Replace broken hinge on side hatch door | 3 | Hull & Structure | PB | 30 |  | 46 | 53 | 53 | G53:I69 | 'ALL JOBS'!A59 | 'ALL JOBS'!B59 | 'ALL JOBS'!D59 | 'ALL JOBS'!E59 | 'ALL JOBS'!F59 | 'ALL JOBS'!G59 | 'ALL JOBS'!D59 | Y | #REF! | 46 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D59 | 43 | 'ALL JOBS'!D52 | 'ALL JOBS'!F52 | FALSE
49 | Clean roof | 4 | Paintwork | DJ/JM | 0 | Y | 47 | 54 | 54 | G54:I69 | 'ALL JOBS'!A60 | 'ALL JOBS'!B60 | 'ALL JOBS'!D60 | 'ALL JOBS'!E60 | 'ALL JOBS'!F60 | 'ALL JOBS'!G60 | 'ALL JOBS'!D60 | Y |  | 47 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D60 | 44 | 'ALL JOBS'!D53 | 'ALL JOBS'!F53 | FALSE
50 | Touch up paint where necessary | 3 | Paintwork | DB/DJ/JM | 0 | Y | 48 | 55 | 55 | G55:I69 | 'ALL JOBS'!A61 | 'ALL JOBS'!B61 | 'ALL JOBS'!D61 | 'ALL JOBS'!E61 | 'ALL JOBS'!F61 | 'ALL JOBS'!G61 | 'ALL JOBS'!D61 | Y | #REF! | 48 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D61 | 45 | 'ALL JOBS'!D54 | 'ALL JOBS'!F54 | FALSE
51 | Repaint boathooks and poles | 3 | Paintwork | DF/PF | 0 | Y | 49 | 56 | 56 | G56:I69 | 'ALL JOBS'!A62 | 'ALL JOBS'!B62 | 'ALL JOBS'!D62 | 'ALL JOBS'!E62 | 'ALL JOBS'!F62 | 'ALL JOBS'!G62 | 'ALL JOBS'!D62 | Y | Y | 49 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D62 | 46 | 'ALL JOBS'!D55 | 'ALL JOBS'!F55 | FALSE
52 | Repair folding table leg | 1 | Miscellaneous | PB | 5 | Y | 50 | 57 | 57 | G57:I69 | 'ALL JOBS'!A63 | 'ALL JOBS'!B63 | 'ALL JOBS'!D63 | 'ALL JOBS'!E63 | 'ALL JOBS'!F63 | 'ALL JOBS'!G63 | 'ALL JOBS'!D63 | Y |  | 50 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D63 | 47 | 'ALL JOBS'!D56 | 'ALL JOBS'!F56 | FALSE
53 | Check stability of step from front door and secure chrome edging | 1 | Woodwork | TM | 10 | Y | 51 | 58 | 58 | G58:I69 | 'ALL JOBS'!A64 | 'ALL JOBS'!B64 | 'ALL JOBS'!D64 | 'ALL JOBS'!E64 | 'ALL JOBS'!F64 | 'ALL JOBS'!G64 | 'ALL JOBS'!D64 | Y | Y | 51 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D64 | 48 | 'ALL JOBS'!D57 | 'ALL JOBS'!F57 | FALSE
54 | Check for any window leaks and repair as necessary | 1 | Windows | CJ | 0 | Y | 52 | 59 | 59 | G59:I69 | 'ALL JOBS'!A65 | 'ALL JOBS'!B65 | 'ALL JOBS'!D65 | 'ALL JOBS'!E65 | 'ALL JOBS'!F65 | 'ALL JOBS'!G65 | 'ALL JOBS'!D65 | Y |  | 52 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D65 | 49 | 'ALL JOBS'!D58 | 'ALL JOBS'!F58 | FALSE
55 | Install reasonably accurate drinking water meter | 1 | Plumbing | DRK | 100 | Y | 53 | 60 | 60 | G60:I69 | 'ALL JOBS'!A66 | 'ALL JOBS'!B66 | 'ALL JOBS'!D66 | 'ALL JOBS'!E66 | 'ALL JOBS'!F66 | 'ALL JOBS'!G66 | 'ALL JOBS'!D66 | Y |  | 53 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D66 | 50 | 'ALL JOBS'!D59 | 'ALL JOBS'!F59 | FALSE
56 | Replacement system drain water pump | 1 | Plumbing | DRK | 35 | Y | 54 | 61 | 61 | G61:I69 | 'ALL JOBS'!A67 | 'ALL JOBS'!B67 | 'ALL JOBS'!D67 | 'ALL JOBS'!E67 | 'ALL JOBS'!F67 | 'ALL JOBS'!G67 | 'ALL JOBS'!D67 | Y | Y | 54 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D67 | 51 | 'ALL JOBS'!D60 | 'ALL JOBS'!F60 | FALSE
57 | Use reseating tool on taps in rear loo | 3 | Plumbing | TM | 0 | Y | 55 | 62 | 62 | G62:I69 | 'ALL JOBS'!A68 | 'ALL JOBS'!B68 | 'ALL JOBS'!D68 | 'ALL JOBS'!E68 | 'ALL JOBS'!F68 | 'ALL JOBS'!G68 | 'ALL JOBS'!D68 | Y | #REF! | 55 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D68 | 52 | 'ALL JOBS'!D61 | 'ALL JOBS'!F61 | FALSE
58 | Cost windows replacement program | 3 | Windows | CJ | 0 | Y | 56 | 63 | 63 | G63:I69 | 'ALL JOBS'!A69 | 'ALL JOBS'!B69 | 'ALL JOBS'!D69 | 'ALL JOBS'!E69 | 'ALL JOBS'!F69 | 'ALL JOBS'!G69 | 'ALL JOBS'!D69 | Y |  | 56 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | 'ALL JOBS'!D69 | 53 | 'ALL JOBS'!D62 | 'ALL JOBS'!F62 | TRUE
[6 empty] | Y | 57 | #N/A | #N/A | G64:I69 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 57 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | #N/A |  | 'ALL JOBS'!D63 | 'ALL JOBS'!F63 | #N/A
[6 empty] | Y | 58 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 58 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | #N/A |  | 'ALL JOBS'!D64 | 'ALL JOBS'!F64 | #N/A
[6 empty] | Y | 59 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 59 | 2 | T3:U72 | 'ALL JOBS'!A8 | 'ALL JOBS'!B8 | 'ALL JOBS'!D8 | 'ALL JOBS'!E8 | 'ALL JOBS'!F8 | 'ALL JOBS'!G8 | #N/A |  | 'ALL JOBS'!D65 | 'ALL JOBS'!F65 | #N/A
[6 empty] | Y | 60 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 60 | 40 | T3:U72 | 'ALL JOBS'!A46 | 'ALL JOBS'!B46 | 'ALL JOBS'!D46 | 'ALL JOBS'!E46 | 'ALL JOBS'!F46 | 'ALL JOBS'!G46 | #N/A |  | 'ALL JOBS'!D66 | 'ALL JOBS'!F66 | #N/A
[6 empty] | Y | 61 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 61 | 49 | T41:U72 | 'ALL JOBS'!A55 | 'ALL JOBS'!B55 | 'ALL JOBS'!D55 | 'ALL JOBS'!E55 | 'ALL JOBS'!F55 | 'ALL JOBS'!G55 | #N/A |  | 'ALL JOBS'!D67 | 'ALL JOBS'!F67 | #N/A
[6 empty] | Y | 62 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 62 | 51 | T50:U72 | 'ALL JOBS'!A57 | 'ALL JOBS'!B57 | 'ALL JOBS'!D57 | 'ALL JOBS'!E57 | 'ALL JOBS'!F57 | 'ALL JOBS'!G57 | #N/A |  | 'ALL JOBS'!D68 | 'ALL JOBS'!F68 | #N/A
[6 empty] | Y | 63 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 63 | 54 | T52:U72 | 'ALL JOBS'!A60 | 'ALL JOBS'!B60 | 'ALL JOBS'!D60 | 'ALL JOBS'!E60 | 'ALL JOBS'!F60 | 'ALL JOBS'!G60 | #N/A |  | 'ALL JOBS'!D69 | 'ALL JOBS'!F69 | #N/A
[7 empty] | 64 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 64 | #N/A | T55:U72 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D70 | 'ALL JOBS'!F70 | #N/A
[7 empty] | 65 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 65 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D71 | 'ALL JOBS'!F71 | #N/A
[7 empty] | 66 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #REF! | 66 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D72 | 'ALL JOBS'!F72 | #N/A
[7 empty] | 67 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 67 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D73 | 'ALL JOBS'!F73 | #N/A
[7 empty] | 68 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 68 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D74 | 'ALL JOBS'!F74 | #N/A
[7 empty] | 69 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #REF! | 69 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D75 | 'ALL JOBS'!F75 | #N/A
[6 empty] | Y | 70 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 70 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D76 | 'ALL JOBS'!F76 | #N/A
[6 empty] | Y | 71 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 71 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D77 | 'ALL JOBS'!F77 | #N/A
[6 empty] | Y | 72 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 72 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D78 | 'ALL JOBS'!F78 | #N/A
[7 empty] | 73 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 73 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D79 | 'ALL JOBS'!F79 | #N/A
[7 empty] | 74 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 74 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D80 | 'ALL JOBS'!F80 | #N/A
[6 empty] | Y | 75 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 75 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D81 | 'ALL JOBS'!F81 | #N/A
[6 empty] | Y | 76 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 76 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D82 | 'ALL JOBS'!F82 | #N/A
[7 empty] | 77 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 77 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | 'ALL JOBS'!D83 | 'ALL JOBS'!F83 | #N/A
INDEX TO PAGES
|  | WHO | PAGE
| 0 | ALL
| 1 | CJ | 2
| 2 | DJ | 3
| 3 | DA | 4
| 4 | HA | 5
| 5 | DB | 6
| 6 | DF | 7
| 7 | PF | 8
| 8 | DRK | 9
| 9 | JF | 10
| 10 | PB | 11
| 11 | TM | 12
| 12 | JM | 13
| 13 | SB | 14
| 14 | JWD | 15
| 15 |  | 16
Type your initials or a ==> number between 0 and 15
here

## Budget
BUDGET
Do Jobs to Priority | 4.9
Estimated OutGoings |  |  | Estimated Income
Moorings Insurance & Licence | 2941.9345 |  | Shares | 4500
Scheduled Maintenance | 4155 |  | NPs | 2500
Account Charges | 0 |  | Daily income (net of costs) | 100
Unplanned / Emergencies | 400 |  | Trip income (net of costs) | -20
Gifts/donations | 0
Year Outgoings | 7496.9345 |  | Year Income | 7080
2022 EOY Floating Fund | 936.4655 |  | 2021 EOY Floating Fund | 1353.4
Gross Outgoings | 8433.4 |  | Gross income | 8433.4
|  | Surplus / Loss = | -416.9345
Winter Moorings | 771.75 |  | NP daily rate (* 3) | 25
Occasional moorings | 700 |  | Trip Charge surplus (* 1) | -20
Insurance | 288 |  | Daily Charge surplus (*2) | 100
Licence | 1182.1845 |  | Share (* 4) | 500
2941.9345
IMPORTANT NOTES |  |  | Budget Asumptions
*1 trip charge unchanged | 25 |  | No. of continuing Participants | 9
(charge minus cost/trip x No. of trips = budget) |  |  | No of new participants | 0
|  |  | Number of NP days (91 in 21) | 100
*2 Daily charge unchanged as £25/30 Avg = | 27 |  | Days use (64 in 2021) | 50
(charge minus cost/day x Days use = budget) |  |  | Cost/day Fuel /gas (£18 in 21) | 25
|  |  | Number of trips (15 in 2021) | 20
*3 NP daily charge increased from £10 to £25 in 2022 |  |  | Cost/trip Pumpout (£25 in 21) | 26
*4 Share increased to £500 in 2021 to cover painting and recover floating fund over next few years |  |  | Note: NP income is the biggest budget risk since it is planned to contrubute a large sum which depends on more folk paying a large increase per day.
NOTES ON ESTIMATES
Trip/Daily net of cost/income planned for a small surplus
Insurance is actual cost
Licence inflated by 5% over last year
Winter moorings inflated by 5% over last year
Emergencies were reduced from £800 in 2006
Occasional moorings reduced from £1500 in 2006
NP days were 91 in 2021 increased to 100 this year, based on "normal" year in 2019 with 135

## ALL JOBS
| SCHEDULED MAINTENANCE |  | PRIORITY | TYPE | ORGANISERS | BUDGET | TOTAL
Priority 0=Standard budget item
Priority 1=Essential
Priority 2=Important
Priority 3=Very useful,and quick & low cost (<£20),could omit or defer
Priority 4=Very useful but significant effort or cost,could omit or defer
Priority 5=Nice to have but could defer
Priority 6=Special major project, budgeted from funds
| JOBS TO BE DONE EVERY YEAR | [6 empty] | 4 | 69
1 | Batteries: Check, clean & grease terminals OK |  | 0 | Start of Season | PB | 0 | 0 | 4 | 10
2 | Check fire extinguishers (and shake powder to remove lumpyness) and fire blanket |  | 0 | Start of Season | DA | 0 | 0 | 4 | 11
3 | Replace CO detector (in stock) |  | 0 | Start of Season | DA | 0 | 0 | 4 | 12
4 | Restock pumpout cards (not maintenance - charge to pump out) |  | 0 | Pumpout | DA | 0 | 0 | 4 | 13
5 | Check compliance issues. Check for new/changed requirements. 2022 Arrange survey |  | 0 | Start of Season | DA/DRK | 120 | 120 | 4 | 14
6 | Pressure test the gas lines |  | 0 | Start of Season | DRK | 0 | 0 | 4 | 15
7 | Check for any soft board (replace as necessary) and water under floor |  | 0 | Start of Season | DA/DB | 0 | 0 | 4 | 16
8 | Working w/e food | General | 0 | Start of Season |  | 50 | 170 | 5 | 17
9 | Check operation of both loos & check fixing. Lubricate foot pedal. To retain water, polish ball & descale rubber rings. |  | 0 | Start of Season | CJ | 0 | 170 | 4 | 18
10 | Refurbish rear loo so bowl holds water, we have all the parts. |  | 0 | Start of Season | CJ | 0 | 170 | 5 | 19
11 | De-winterise replace water pump if necessry, check for leaks, reinstall, change water filter. Re-install Port Side Heating pump and shower. |  | 0 | Start of Season | DRK | 100 | 270 | 5 | 20
12 | Restock water filters & Freezeban | Electrical | 0 | Start of Season | DRK | 70 | 340 | 5 | 21
13 | Winterisation- Partial (November) Full (December) |  | 0 | November | DRK | 0 | 340 | 5 | 22
14 | Restock & update handover sheet & email to members | General | 0 | Start of Season | DRK | 0 | 340 | 5 | 23
15 | Restock Blue for loos (charge to "Pump-out") |  | 0 | Start of Season | All | 0 | 340 | 5 | 24
16 | Restock CH antifreeze Check water levels (2022 is part of heating work) |  | 0 | Start of Season | DRK | 0 | 340 | 5 | 25
17 | Replace pillows (4/year?) | General - end | 0 | Start of Season | HA |  | 340 | 5 | 26
18 | Re-stock first aid kit as needed | Interior | 0 | Start of Season | HA | 15 | 355 | 5 | 27
19 | Clean boat for start of season | General | 0 | Start of Season | JF/PB/SB | 20 | 375 | 5 | 28
20 | Remove all surplus materials and food etc |  | 0 | Start of Season | JF/PB/SB | 0 | 375 | 5 | 29
21 | Restock engine oil (charge to "Engine Oil") |  | 0 | Start of Season | JF | 0 | 375 | 5 | 30
22 | Check mounts, transmission and alternator belt |  | 0 | Start of Season | PB /JWD/JF | 0 | 375 | 5 | 31
23 | Check propeller |  | 0 | Start of Season | PB | 0 | 375 | 5 | 32
24 | Check/fix bilge pumps and auto switches operational |  | 0 | Start of Season | PB /JWD/JF | 0 | 375 | 5 | 33
25 | Check stock diesel tonic and oil + fuel+ air filters |  | 0 | Start of Season | PB | 0 | 375 | 5 | 34
26 | Service engine (oil & filters mid season) add diesel tonic, Oil and filter, Fuel filter, |  | 0 | Start of Season | PB /JWD/JF | 26 | 401 | 5 | 35
27 | Laundry: clean blankets & curtains? | General - end | 0 | Start of Season | SB | 0 | 401 | 5 | 36
28 | Check front gas locker vents to outside are clear |  | 0 | Start of Season | TM | 0 | 401 | 5 | 37
29 | Clean rain gullies around stern counter area |  | 0 | Start of Season | DB/DF/PF | 0 | 401 | 5 | 38
30 | Clean rubber mat on stern counter area not needed |  | 0 | Start of Season | DB/DF/PF | 0 | 401 | 5 | 39
31 | Clean Shower sump (bucket) Check for leak |  | 0 | Start of Season | TM | 0 | 401 | 5 | 40
| JOBS FROM LAST YEAR | [6 empty] | 6
32 | Permanent cover for boiler chimney (not needed) |  | 6 | Hull & Structure | DRK/PB |  | 401 | 6 | 42
33 | Monitor water pump voltage problem |  | 2 | Electrics | DRK/PB |  | 401 | 6 | 43
34 | Check for water leaks under kitchen sink as possible cause of smell |  | 2 | Miscellaneous | DRK/PB | 0 | 401 | 6 | 44
35 | Shelving in dining area - wire stops, |  | 3 | Joinery | DA | 5 | 406 | 6 | 45
36 | Organize boxes in Boiler Cupboard. Label boxes with contents, replace failing boxes, put list of contents on back of the door. |  | 3 | Miscellaneous | SB | 0 | 406 | 6 | 46
37 | Add spotlight option to front headlight. |  | 5 | Electrics | PB | 50 | 456 | 6 | 47
38 | Lights replacement/upgrade Replace faulty lights where necessary |  | 2 | Lighting | DA | 30 | 486 | 6 | 48
39 | Mattress/cushion replacement programme |  | 6 | Miscellaneous | DA/HA/JM | 1000 | 1486 | 6 | 49
| JOBS FOR THIS YEAR | [5 empty] | 1486 | 7
40 | Replace boiler |  | 1 | Special Project | PB/DRK | 3500 | 4986 | 7 | 51
41 | Replace gas cooker - Install shelf if not replaced |  | 5 | Special Project | DA | 320 | 5306 | 7 | 52
42 | Gas cooker - Install shelf if not replaced |  | 1 | Safety | PB |  | 5306
43 | Clean and repaint metal supports under rear counter boards and steps |  | 3 | Paintwork | DB/DF/PF | 0 | 5306 | 7 | 54
44 | Complete drainage slots in rubber mats over rear boards and add pieces to steps |  | 2 | Miscellaneous | TM | 0 | 5306 | 7 | 55
45 | Clean bilge |  | 3 | Paintwork | DB | 0 | 5306 | 7 | 56
46 | Repair/replace rear door |  | 2 | Woodwork | PB/SB | 20 | 5326 | 7 | 57
47 | Replace missing slats in airing cupboard and rear cabin doors |  | 3 | Woodwork | DA | 19 | 5345 | 7 | 58
48 | Replace broken hinge on side hatch door |  | 3 | Hull & Structure | PB | 30 | 5375 | 7 | 59
49 | Clean roof |  | 4 | Paintwork | DJ/JM | 0 | 5375 | 7 | 60
50 | Touch up paint where necessary |  | 3 | Paintwork | DB/DJ/JM | 0 | 5375 | 7 | 61
51 | Repaint boathooks and poles |  | 3 | Paintwork | DF/PF | 0 | 5375 | 7 | 62
52 | Repair folding table leg |  | 1 | Miscellaneous | PB | 5 | 5380 | 7 | 63
53 | Check stability of step from front door and secure chrome edging |  | 1 | Woodwork | TM | 10 | 5390 | 7 | 64
54 | Check for any window leaks and repair as necessary |  | 1 | Windows | CJ | 0 | 5390 | 7 | 65
55 | Install reasonably accurate drinking water meter |  | 1 | Plumbing | DRK | 100 | 5490 | 7 | 66
56 | Replacement system drain water pump |  | 1 | Plumbing | DRK | 35 | 5525 | 7 | 67
57 | Use reseating tool on taps in rear loo |  | 3 | Plumbing | TM | 0 | 5525 | 7 | 68
58 | Cost windows replacement program |  | 3 | Windows | CJ | 0 | 5525 | 7 | 69
[7 empty] | 5525 | 8
[7 empty] | 5525 | 9
[7 empty] | 5525 | 10
[7 empty] | 5525 | 11
[7 empty] | 5525 | 12
5525
| TOTAL for jobs with priority up to |  |  |  | 4.9 | 4155
| TOTAL for all jobs - priority up to |  |  |  | 5.9 | 4525
| ADDITIONAL COST for jobs of up to priority |  |  |  | 6 | 1000
[6 empty] | Selected | Specials
[5 empty] | Priority | Priority | Priority
|  |  |  | 6 | <6.0 | <5.0 | <6.1
Front toilet main light – replace with LED
Front sleeping cabin – bunk top right-hand side – LED
Middle cabin – bunk top right-hand side – LED (could be left another year)
Rear cabin – top bunk – as above
Front cabin rear left light

## Sheet1 (hidden)
|  | price each |  | Cost
Rear boards matting |  | ex VAT | inc VAT
Butyle covering: 2m x 1.8m | 2m x 1.8m | 28.19 | 33.828 | 33.828
Top Covering x 2 | 1.82m x 1.22m |  | 57.5 | 115
148.828